UZIMA DRILLING SERVICES LIMITED

Dealers in: Drilling Services, Flashing, Supply of Afridev Hand pumps, deep well Hand Pumps, Submersible Pumps. Spares and services for all water projects

P.O BOX 9133-30100

ELDORET

E-MAIL:uzimadrillingservices@gmail.com

www.silatrust.org

Mobile: +254 727 279513

+254 724 896254

OUR REF: 1213/ICB/GW/04/03						   Date: 20/04/2013

CLIENT NAME: UPPERHILL KIPKORGOT COMMUNITY BOREHOLE

C/O PETER BARTOCHO

TYPE OF WORKS: 1 NO. BOREHOLES FOR DRILLING (200M)

COSTS: KSH 1,700,000/=

| No | Description | QTY | Unit | Rate | Total Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Mobilization of drilling Unit and personnel to site/ setting up & dismantling | 1 | Sum | 100,000.00 | 100,000.00 |
| 2 | Service casing 8”/ 9’’ dia | 4 | No. | 5,500.00 | 22,000.00 |
| 3 | Drilling 7”/ 8’’ dia borehole 0-100m depth | 200 | Mtr | 4479 | 895,800.00 |
| 4 | Supply &installation of 5mm or 6mm screen/plain P.V.C casings | 67 | No. | 3,600.00 | 241,200.00 |
| 5 | Supply of water used during drilling & development | 600 | Ltr | 20 | 12,000.00 |
| 6 | Additional cost-provisional only: (Exceptional cases) a) Installation & removal of service casings in the event of borehole collapse in collapsible zone b) installation & non-removal of the service casing as in (a) above | 4 4 | No. No. | 5,500.00 5,500.00 | 22,000.00 22,000.00 |
| 7 | Supply & filling of Gravel pack(2-4mm) | 14 | No. | 10,000.00 | 140,000.00 |
| 8 | Borehole development work/FLASHING | 2 | No. | 65,000.00 | 130,000.00 |
| 9 | Test pumping | 1 | No. | 80,000.00 | 80,000.00 |
| 10 | Construction of concrete slap with well cap | 1 | No. | 10,000.00 | 10,000.00 |
| 11 | Water analysis test | 1 | No. | 10,000.00 | 10,000.00 |
| 12 | Borehole completion report | 1 | No. | 15,000.00 | 15,000.00 |
|  | Total estimated cost for drilling |  |  |  | 1,700,00.00 |

TERMS AND CONDITIONS OF CONTRACT

1. Drilling permit from WRMA, No. Objection letter from NCW &Sew. co.ltd, NEMA is a pre-requisite for commencement of borehole drilling.

2. Accessibility and security of the Drilling Unit to the site is the responsibility of the Client.

3. Warranty Clause : We do not warrant or guarantee in anyway the quantity, quality, or kind of water, which may be Encountered on completion of the drilling works.

4. Waiting Charges Clause : A Waiting Charge of Kshs.3000/= Per Hour will be charged in the event of stop-age/non-

Commencement of Borehole drilling due to any act, omissions of Client.

5. Drilling may be stopped short of the agreed upon depth if we hit the main aquifer or attain sufficient water before reaching the agreed upon dept as per by-laws of ministry of water and irrigation. If such happens, the client shall be charged as per the bill of quantities of work done plus 50% of undone works

6. Any extra work reflected but not charged in the quotation shall be requested in writing and paid for accordingly by the client As per stated rates.

PAYMENT TERMS

70% -Payable in signing the contract

30%- Payable upon completion of works

N/B: This quotation is binding for 2 weeks once it has been agreed upon and signed by both parties.

The Law of Contract Act as administered in the Law of Kenya Act shall be applicable, upon signing

Of Contract Agreement which is intended to create legally binding obligations between the

Contractor and the Client.

For: UZIMA DRILLING SERVICES LTD

JOSEPH A. CHEBII Signed: ……………….. Date: ……………………

OPERATIONS MANAGER

Accepted: (client)

Name: ……………………………………

Signature……………………………… date ………………………